## Definitions and Acronyms
Definitions and Acronyms
Co-located project in this report refers to a Battery Energy Storage project combined with a project (operational or planned) of another technology type (e.g. WT, PV or GT) at the same POI and having the same Interconnecting Entity.
Currently, ERCOT does not have information if these projects are going to be operated as a DC-Couple Resource, Self-Limiting Facility or as an independent Resource located at the same Point of Interconnection (POI).
Stand-Alone project in this report refers to a Battery Energy Storage project that does not have a project (operational or planned) of another technology type located at the same POI with the same Interconnecting Entity.
GIS Report = Generation Interconnection Status Report
FIS = Full Inteconnection Study
COD = Commercial Operation Date
POI = Point of lnterconnection
INR = Interconnection Request Number
CDR = Capacity, Demand and Reserves Report
Fuel Types | Technology Types
OTH = Other | BA = Battery Energy Storage
SOL = Solar | GT = Combustion (gas) Turbine, but not part of a Combined-Cycle
WIN = Wind | PV = Photovoltaic Solar
WT = Wind Turbine

## Summary
Battery Energy Storage Summary Based on July 2021 GIS Report
NOTES:
Only those projects for which a Full Interconnection Study has been requested are included.
The report excludes registered projects under 10 MW in size that are not included in the Resource Integration and Ongoing Operations Interconnection Services (RIOO-IS) System.
Project Type | Number of Storage Projects | MW of Storage | % of Total Storage MW
Stand-Alone Battery Energy Storage | 115 | 17743 | 61.84%
Battery Energy Storage+Solar | 66 | 9172.61 | 31.97%
Battery Energy Storage+Wind | 4 | 345 | 1.202%
Battery Energy Storage+Other Tech | 9 | 1432 | 4.991%
Total (with FIS Requested) | 194 | 28692.61 | 100%

## Co-located with Solar
Battery Energy Storage Projects Co-Located with Solar Projects Based on the July 2021 GIS Report
NOTES:
Due to Protocol confidentiality provisions, only those projects for which a Full Interconnection Study has been requested are included.
For the purposes of this report the Battery Eneregy Storage project is considered co-located with Solar project if there are new or existing Solar projects at the same POI, with similar project name and same Interconnecting Entity (or same parent or holding company).
The projects are listed in alphabetical order.
INR | Project Name | Project Status | Interconnecting Entity | POI Location | County | CDR Reporting Zone | Projected COD | Fuel | Technology | Capacity (MW) | IA Signed |  | Approved for Energization | Approved for Synchronization
Financial Security
and Notice to
Proceed Provided
21INR0210 | Adamstown Solar | Planned | Adams Creek Solar Project, LLC | tap 345kV 1730 West Krum - 6101 Riley | Wichita | WEST | 2023-09-30 | SOL | PV | 254.15 |  | No
21INR0209 | Adamstown Storage | Planned | Adams Creek Solar Project, LLC | tap 345kV 1730 West Krum - 6101 Riley | Wichita | WEST | 2023-09-30 | OTH | BA | 116.9 |  | No
21INR0256 | Amsterdam Solar | Planned | Cottonwood Bayou Solar II, LLC | tap 345kV 43035 Oasis - 42500 Dow c27 | Brazoria | COASTAL | 2023-04-01 | SOL | PV | 509.88 |  | No
22INR0417 | Amsterdam Storage | Planned | Cottonwood Bayou II Storage, LLC | tap 345kV 43035 Oasis - 42500 Dow c27 | Brazoria | COASTAL | 2023-04-01 | OTH | BA | 201.13 |  | No
21INR0476 | Azure Sky BESS | Planned | Azure Sky Solar Project, LLC | 60515 Clear Crossing 345kV | Haskell | WEST | 2021-11-06 | OTH | BA | 77.6 | 2020-04-01 | Yes
21INR0477 | Azure Sky Solar | Planned | Azure Sky Solar Project, LLC | 60515 Clear Crossing 345kV | Haskell | WEST | 2021-08-29 | SOL | PV | 228.4 | 2020-04-01 | Yes | 2021-06-04 | 2021-06-18
23INR0237 | Big River BESS | Planned | Photosol US Renewable Energy, LLC | 8299 Zapata 138KV | Zapata | SOUTH | 2024-12-01 | OTH | BA | 51.26 |  | No
23INR0215 | Big River Solar | Planned | Photosol US Renewable Energy, LLC | 8299 Zapata 138kV | Zapata | SOUTH | 2024-12-01 | SOL | PV | 104.35 |  | No
21INR0413 | Big Star Solar | Planned | RWE Solar Development, LLC | Tap 345kV 9074 Lytton - 9073 Holman | Bastrop | SOUTH | 2022-03-31 | SOL | PV | 203.1 | 2020-10-02 | Yes
21INR0469 | Big Star Storage | Planned | RWE Solar Development, LLC | Tap 345kV 9074 Lytton - 9073 Holman | Bastrop | SOUTH | 2022-03-31 | OTH | BA | 80 | 2020-10-02 | No
23INR0118 | Blevins Solar | Planned | Blevins Solar, LLC | tap 345kV 3414 Temple Switch - 3409 Lake Creek | Falls | NORTH | 2023-06-01 | SOL | PV | 304.5 |  | No
23INR0119 | Blevins Storage | Planned | Blevins Solar, LLC | tap 345kV 3414 Temple Switch - 3409 Lake Creek | Falls | NORTH | 2023-06-01 | OTH | BA | 182.4 |  | No
23INR0019 | Blue Jay BESS | Planned | Blue Jay Solar I, LLC | 4 IOLA 138kV | Grimes | NORTH | 2022-11-17 | OTH | BA | 51.63 |  | No
19INR0085 | Blue Jay Solar | Planned | Blue Jay Solar I, LLC | 4 Iola 138kV | Grimes | NORTH | 2022-01-31 | SOL | PV | 141.05 | 2020-10-26 | Yes
21INR0538 | Blue Jay Solar II | Planned | Blue Jay Solar I, LLC | 4 Iola 138kV | Grimes | NORTH | 2022-01-31 | SOL | PV | 68.95 | 2020-10-26 | Yes
23INR0083 | Bottom Grass BESS | Planned | Bottom Grass Solar Project, LLC | tap 345 kV 9073 Holman - 44200 Hillje | Colorado | SOUTH | 2023-12-31 | OTH | BA | 202.21 |  | No
23INR0082 | Bottom Grass Solar | Planned | Bottom Grass Solar Project, LLC | tap 345 kV 9073 Holman - 44200 Hillje | Colorado | SOUTH | 2023-12-31 | SOL | PV | 508.61 |  | No
22INR0242 | Bright Arrow Solar | Planned | RWE Solar Development, LLC | tap 345kV 1685 Farmersville - 1695 Monticello ckt 2 | Hopkins | NORTH | 2022-12-15 | SOL | PV | 349.2 | 2021-02-18 | Yes
22INR0302 | Bright Arrow Storage | Planned | RWE Solar Development, LLC | tap 345kV 1685 Farmersville - 1695 Monticello ckt 2 | Hopkins | NORTH | 2022-12-15 | OTH | BA | 106.7 |  | No
23INR0076 | Cannon Solar SLF | Planned | Duke Energy Renewables Solar, LLC | tap 138kV 7224 Luling - 7245 Gonzales | Gonzales | SOUTH | 2023-12-31 | SOL | PV | 152.5 |  | No
23INR0113 | Cannon Storage SLF | Planned | Duke Energy Renewables Solar, LLC | Tap 138kV 7224 Luling - 7245 Gonzales | Gonzales | SOUTH | 2023-12-31 | OTH | BA | 0 |  | No
23INR0116 | Cantaloupe Solar | Planned | Saragosa Del Sol Energy LLC | 60716 Saragosa 138kV | Reeves | WEST | 2023-12-01 | SOL | PV | 303.13 |  | No
23INR0117 | Cantaloupe Storage | Planned | Saragosa Del Sol Energy LLC | 60716 Saragosa 138kV | Reeves | WEST | 2023-12-01 | OTH | BA | 251.05 |  | No
21INR0380 | Charolais Solar | Planned | RWE Solar Development, LLC | tap 345kV 44000 W A Parish - 5915 STP | Matagorda | COASTAL | 2023-12-15 | SOL | PV | 261.63 |  | No
23INR0168 | Charolais Storage | Planned | RWE Solar Development, LLC | tap 345kV 44000 W A Parish - 5915 STP | Matagorda | COASTAL | 2023-12-15 | OTH | BA | 150 |  | No
23INR0070 | Chillingham Solar | Planned | 250LB 8me | 3687 Bell County East 345kV | Bell | NORTH | 2023-06-01 | SOL | PV | 359.37 |  | No
23INR0079 | Chillingham Storage | Planned | 250LB 8me | 3687 Bell County East 345kV | Bell | NORTH | 2023-06-01 | OTH | BA | 153.75 |  | No
22INR0295 | Coral Solar | Planned | Copperhead Solar, LLC | tap 138kV 3410 Lake Creek Switch - 3582 Falls County | Falls | NORTH | 2023-06-01 | SOL | PV | 152 |  | No
23INR0124 | Coral Storage | Planned | Copperhead Solar, LLC | tap 138kV 3410 Lake Creek Switch - 3582 Falls County | Falls | NORTH | 2023-06-01 | OTH | BA | 101 |  | No
19INR0134 | Cottonwood Bayou Solar | Planned | Cottonwood Bayou Solar, LLC | tap 138kV 42870 Liverpool - 43070 Petson | Brazoria | COASTAL | 2023-01-01 | SOL | PV | 150 | 2019-11-13 | No
21INR0228 | Cottonwood Bayou Solar II | Planned | Cottonwood Bayou Solar, LLC | tap 138kV 42870 Liverpool - 43070 Petson | Brazoria | COASTAL | 2023-01-01 | SOL | PV | 200 | 2021-03-25 | No
21INR0443 | Cottonwood Bayou Storage | Planned | Cottonwood Bayou Storage, LLC | tap 138kV 42870 Liverpool - 43070 Petson | Brazoria | COASTAL | 2023-01-01 | OTH | BA | 150.83 |  | No
22INR0266 | Creekfield Solar | Planned | RWE Solar Development, LLC | tap 345kV 44000 WA Parish - 44200 Hillje | Fort Bend | HOUSTON | 2023-12-15 | SOL | PV | 161.34 |  | No
22INR0379 | Creekfield Storage | Planned | RWE Solar Development, LLC | tap 345kV 44000 WA Parish - 44200 Hillje | Fort Bend | HOUSTON | 2023-12-15 | OTH | BA | 69 |  | No
21INR0016 | Danish Fields II Solar | Planned | Danish Fields Solar, LLC | 44200 Hillje 345kV | Wharton | SOUTH | 2023-06-15 | SOL | PV | 201 | 2020-02-24 | Yes
21INR0017 | Danish Fields III Solar | Planned | Danish Fields Solar, LLC | 44200 Hillje 345kV | Wharton | SOUTH | 2023-06-15 | SOL | PV | 201 | 2020-02-24 | Yes
20INR0069 | Danish Fields Solar | Planned | Danish Fields Solar, LLC | 44200 Hillje 345kV | Wharton | SOUTH | 2023-06-15 | SOL | PV | 201 | 2020-02-24 | Yes
21INR0450 | Danish Fields Storage | Planned | Danish Fields Storage, LLC | 44200 Hillje 345kV | Wharton | SOUTH | 2023-06-15 | OTH | BA | 150.83 |  | No
23INR0103 | Donegal BESS | Planned | HE-Cottonwood Solar, LLC | 59904 Cottonwood 345kV | Dickens | PANHANDLE | 2023-11-20 | OTH | BA | 101.3 |  | No
23INR0089 | Donegal Solar | Planned | HE-Cottonwood Solar, LLC | 59904 Cottonwood 345kV | Dickens | PANHANDLE | 2023-09-30 | SOL | PV | 204.2 |  | No
22INR0237 | Dragan Solar | Planned | Hecate Comanche Solar LLC | 1440 Comanche 345kV | Comanche | NORTH | 2024-05-01 | SOL | PV | 411 |  | No
22INR0400 | Dragan Storage | Planned | Hecate Grid Dragan Storage LLC | 1440 Comanche 345kV | Comanche | NORTH | 2022-10-15 | OTH | BA | 408.3 |  | No
21INR0368 | Eliza Solar | Planned | Ables Springs Solar, LLC | tap 345kV 2478 Royse - 3103 Shamburger | Kaufman | NORTH | 2024-02-15 | SOL | PV | 151.28 |  | No
22INR0260 | Eliza Storage | Planned | Ables Springs Storage, LLC | tap 345kV 2478 Royse - 3103 Shamburger | Kaufman | NORTH | 2024-02-15 | OTH | BA | 100.62 |  | No
21INR0226 | Equinox Solar 1 | Planned | Invenergy Solar Project Development LLC | 80355 Del Sol 345kV | Starr | SOUTH | 2025-12-01 | SOL | PV | 200 | 2021-01-28 | No
21INR0227 | Equinox Solar 2 | Planned | Invenergy Solar Project Development LLC | 80355 Del Sol 345kV | Starr | SOUTH | 2025-12-01 | SOL | PV | 200 |  | No
23INR0048 | Equinox Storage | Planned | Invenergy Storage Development LLC | 80355 Del Sol 345kV | Starr | SOUTH | 2025-12-31 | OTH | BA | 101.2 |  | No
22INR0336 | Estonian Energy Storage | Planned | 249RD 8ME | tap 138kV 1801 Paris Pump Tap – 17011 LKCRK_P8 | Delta | NORTH | 2023-06-01 | OTH | BA | 102.5 |  | No
22INR0335 | Estonian Solar Farm | Planned | 249RD 8ME | tap 138kV 1801 Paris Pump Tap – 17011 LKCRK_P8 | Delta | NORTH | 2023-06-01 | SOL | PV | 204.47 |  | No
20INR0219 | Eunice Solar | Planned | 2W Permian Solar LLC | tap 345kV 79650 Clearfork - 79630 Telephone Rd | Andrews | WEST | 2021-08-19 | SOL | PV | 426.7 | 2019-12-11 | Yes | 2020-11-09 | 2020-12-01
| Eunice Storage | Operational |  | tap 345kV 79650 Clearfork - 79630 Telephone Rd | Andrews | WEST |  | OTH | BA | 40.3
22INR0405 | Fence Post BESS | Planned | Fence Post Solar Project, LLC | tap 138kV 3127 Trinidad – 3483 Goodloe | Navarro | NORTH | 2022-12-30 | OTH | BA | 90.76 |  | No
22INR0404 | Fence Post Solar | Planned | Fence Post Solar Project, LLC | tap 138kV 3127 Trinidad – 3483 Goodloe | Navarro | NORTH | 2022-12-30 | SOL | PV | 243.36 |  | No
24INR0015 | Five Wells Solar | Planned | Five Wells Solar Center LLC | 3687 Bell Country East 345kV | Bell | NORTH | 2023-12-29 | SOL | PV | 355.4 |  | No
23INR0159 | Five Wells Storage | Planned | Five Wells Solar Center LLC | 3687 Bell Country East 345kV | Bell | NORTH | 2023-12-29 | OTH | BA | 262.5 |  | No
20INR0080 | Frye Solar | Planned | Hecate Energy | new 345kV sub Kress connecting both 23912 Ogallala - 23914 Tule Canyon circuits | Swisher | PANHANDLE | 2022-09-30 | SOL | PV | 514.1 | 2021-02-06 | No
22INR0402 | Frye Storage | Planned | Hecate Grid Frye Storage LLC | new 345kV sub Kress connecting both 23912 Ogallala - 23914 Tule Canyon circuits | Swisher | PANHANDLE | 2023-05-31 | OTH | BA | 510 |  | No
21INR0021 | Green Holly Solar | Planned | GreenGo Energy | tap 345kV 59900 Longdraw - 79641 Farmland | Dawson | WEST | 2023-03-31 | SOL | PV | 413.6 | 2020-05-19 | No
21INR0029 | Green Holly Storage | Planned | GreenGo Energy | tap 345kV 59900 Longdraw - 79641 Farmland | Dawson | WEST | 2023-08-01 | OTH | BA | 50 | 2020-10-19 | No
20INR0135 | Half Moon Battery | Planned | Nextera | 80355 Del Sol 345kV | Hidalgo | SOUTH | 2023-12-29 | OTH | BA | 30.2 |  | No
20INR0134 | Half Moon Solar | Planned | Nextera | 80355 Del Sol 345kV | Hidalgo | SOUTH | 2023-12-29 | SOL | PV | 151.2 |  | No
23INR0158 | High Chaparral BESS | Planned | High Chaparral Solar Project, LLC | tap 138kV 42110 Angleton - 42870 Liverpool c04 | Brazoria | COASTAL | 2023-12-31 | OTH | BA | 51.74 |  | No
23INR0157 | High Chaparral Solar | Planned | High Chaparral Solar Project, LLC | tap 138kV 42110 Angleton - 42870 Liverpool c04 | Brazoria | COASTAL | 2023-12-31 | SOL | PV | 147.63 |  | No
21INR0430 | Holstein 2 Energy Storage | Planned | 229HD 8me LLC | 11406 Central Bluff 345kV | Nolan | WEST | 2022-10-04 | OTH | BA | 102.5 |  | No
19INR0026 | Holstein 2 Solar | Planned | 8minutenergy | 11406 Central Bluff 345kV | Nolan | WEST | 2022-10-04 | SOL | PV | 100 |  | No
20INR0075 | Howle Solar | Planned | Belltown Power | tap 345kV 1906 Venus - 68090 Sam Sw | Ellis | NORTH | 2023-05-31 | SOL | PV | 60 |  | No
23INR0292 | Howle Storage | Planned | BT Howle Solar, LLC | tap 345kV 1906 Venus - 68090 Sam Sw Same location as 20INR0075 - Howle Solar | Ellis | NORTH | 2023-05-31 | OTH | BA | 30 |  | No
22INR0375 | Inertia BESS 2 | Planned | Inertia Solar Project, LLC | tap 345kV 60515 Clear Crossing - 6104 Smoky Hill | Haskell | WEST | 2022-12-31 | OTH | BA | 100.77 | 2021-05-04 | No
22INR0374 | Inertia Solar | Planned | Inertia Solar Project, LLC | tap 345kV 60515 Clear Crossing - 6104 Smoky Hill | Haskell | WEST | 2022-12-31 | SOL | PV | 258.35 | 2021-05-04 | No
20INR0235 | Knickerbocker Solar | Planned | Knickerbocker Solar LLC | Tap 345kV 76003 Big Hill - 76009 Twin Buttes | Tom Green | WEST | 2023-05-01 | SOL | PV | 202.87 |  | No
21INR0446 | Knickerbocker Storage | Planned | Knickerbocker Solar LLC | Tap 345kV 76003 Big Hill - 76009 Twin Buttes | Tom Green | WEST | 2023-05-01 | OTH | BA | 25 |  | No
19INR0044 | Lily Solar | Planned | Lily Solar, LLC | tap 138kV 6904 CombinRC - 6908 ScuryRC | Kaufman | NORTH | 2021-08-21 | SOL | PV | 147.63 | 2019-03-29 | Yes | 2021-04-08 | 2021-04-26
20INR0294 | Lily Storage | Planned | Lily Solar, LLC | tap 138kV 6904 CombinRC - 6908 ScuryRC | Kaufman | NORTH | 2021-08-21 | OTH | BA | 51.74 | 2020-07-14 | Yes | 2021-04-26 | 2021-04-30
19INR0042 | Long Point Solar | Planned | SunChase Power | tap 138kV 44010 WAP - 42981 Nash98 | Brazoria | COASTAL | 2023-04-01 | SOL | PV | 101.25 | 2019-10-24 | No
21INR0444 | Long Point Storage | Planned | Long Point Storage, LLC | tap 138kV 44010 WAP - 42980 Nash. | Brazoria | COASTAL | 2023-04-01 | OTH | BA | 100.62 |  | No
21INR0344 | Lunis Creek Solar 1 | Planned | Lunis Creek Solar Project, LLC | tap 345kV 8956 White Point - 5915 STP | Jackson | SOUTH | 2023-12-31 | SOL | PV | 202.5 |  | No
21INR0346 | Lunis Creek Solar 2 | Planned | Lunis Creek Solar Project II, LLC | tap 345kV 8956 White Point - 5915 STP | Jackson | SOUTH | 2023-12-31 | SOL | PV | 202.5 |  | No
21INR0345 | Lunis Creek Storage 1 | Planned | Lunis Creek Solar Project, LLC | tap 345kV 8956 White Point - 5915 STP | Jackson | SOUTH | 2023-12-31 | OTH | BA | 81.2 |  | No
21INR0347 | Lunis Creek Storage 2 | Planned | Lunis Creek Solar Project II, LLC | tap 345kV 8956 White Point - 5915 STP | Jackson | SOUTH | 2023-12-31 | OTH | BA | 81.2 |  | No
21INR0220 | Maleza Solar | Planned | Brush Solar LLC | tap 345kV 44200 Hillje - 44040 Bailey | Wharton | SOUTH | 2023-06-01 | SOL | PV | 254.94 | 2021-01-27 | No
23INR0227 | Maleza Solar II | Planned | Brush Solar, LLC | tap 345kV 44200 Hillje - 44040 Bailey | Wharton | SOUTH | 2023-06-01 | SOL | PV | 254.94 |  | No
21INR0456 | Maleza Storage | Planned | Brush Storage, LLC | tap 345kV 44200 Hillje - 44040 Bailey | Wharton | SOUTH | 2023-06-01 | OTH | BA | 150.83 |  | No
23INR0153 | Mercury II Solar | Planned | Mercury II Solar, LLC | 68090 Sam Sw 345kV | Hill | NORTH | 2022-10-31 | SOL | PV | 206.11 |  | No
21INR0257 | Mercury Solar | Planned | Mercury Solar, LLC | 68090 Sam Sw 345kV | Hill | NORTH | 2022-10-31 | SOL | PV | 206.11 |  | No
21INR0258 | Mercury Storage | Planned | Mercury Storage, LLC | 68090 Sam Sw 345kV | Hill | NORTH | 2023-12-01 | OTH | BA | 205.9 |  | No
19INR0155 | Morrow Lake Solar | Planned | Sunchase Power | 5895 Pearsall 138kV | Frio | SOUTH | 2022-08-01 | SOL | PV | 204 | 2019-08-29 | Yes
21INR0483 | Morrow Lake Storage | Planned | Morrow Lake Storage, LLC | 5895 Pearsall 138kV | Frio | SOUTH | 2022-08-01 | OTH | BA | 201.13 |  | No
18INR0050 | Mustang Creek Solar | Planned | Sunchase Power | tap 138kV 5523 ETP - 78104 Ricebird new sub Galow | Jackson | SOUTH | 2022-10-31 | SOL | PV | 152.25 | 2019-01-04 | Yes
21INR0484 | Mustang Creek Storage | Planned | Ganado Storage, LLC | tap 138kV 5523 ETP - 78104 Ricebird new sub Galow | Jackson | SOUTH | 2022-10-31 | OTH | BA | 150.83 |  | No
19INR0041 | Myrtle Solar | Planned | Myrtle Solar, LLC | 42110 Angleton 138kV | Brazoria | COASTAL | 2022-12-15 | SOL | PV | 240 | 2019-11-13 | Yes
20INR0263 | Myrtle Solar II | Planned | Myrtle Solar II, LLC | 42110 Angleton 138kV | Brazoria | COASTAL | 2022-12-15 | SOL | PV | 100 | 2021-02-01 | No
21INR0442 | Myrtle Storage | Planned | Myrtle Storage, LLC | 42110 Angleton 138kV | Brazoria | COASTAL | 2022-12-15 | OTH | BA | 150.83 |  | No
20INR0214 | Noble Solar | Planned | BT Noble Solar, LLC | 1730 Krum 345kV | Denton | NORTH | 2022-05-30 | SOL | PV | 279 | 2020-10-10 | Yes
22INR0436 | Noble Storage | Planned | Noble Storage, LLC | 1730 Krum West 345kV | Denton | NORTH | 2022-06-01 | OTH | BA | 127 | 2021-05-13 | No
23INR0061 | Noria Solar DCC | Planned | Noria Hondo Solar, LLC | 85000 Nelson Sharpe 345kV | Nueces | COASTAL | 2023-06-30 | SOL | PV | 145 |  | No
23INR0062 | Noria Storage | Planned | Noria Hondo Solar, LLC | 85000 Nelson Sharpe 345kV | Nueces | COASTAL | 2023-06-30 | OTH | BA | 75 |  | No
23INR0259 | Noria Storage DCC | Planned | Noria Hondo Solar, LLC | 85000 Nelson Sharpe 345kV | Nueces | COASTAL | 2023-06-30 | OTH | BA | 0 |  | No
22INR0330 | Old Aqueduct Batt | Planned | Old Aqueduct LLC | 23920 Blackwater 345kV | Hale | PANHANDLE | 2022-12-17 | OTH | BA | 302.94 |  | No
22INR0462 | Old Aqueduct Solar | Planned | Old Aqueduct Solar | 23920 Blackwater 345kV | Hale | PANHANDLE | 2023-06-01 | SOL | PV | 511.63 |  | No
23INR0007 | Outpost Solar | Planned | Hecate Energy Outpost Solar LLC | Tap 345kV 80219 Lobo - 5709 Fowlerton | Webb | SOUTH | 2023-12-01 | SOL | PV | 513.7 |  | No
23INR0209 | Outpost Storage | Planned | Hecate Energy Outpost Storage LLC | Tap 345kV 80219 Lobo - 5709 Fowlerton | Webb | SOUTH | 2023-12-01 | OTH | BA | 508.1 |  | No
22INR0243 | Painted Horse Solar | Planned | RWE Solar Development, LLC | tap 345kV 5915 STP - 5133 Elm Creek ckt 1 | Wilson | SOUTH | 2022-12-15 | SOL | PV | 200.58 |  | No
22INR0364 | Painted Horse Storage | Planned | RWE Solar Development, LLC | tap 345kV 5915 STP - 5133 Elm Creek ckt 1 | Wilson | SOUTH | 2022-12-15 | OTH | BA | 50 |  | No
21INR0349 | Pearl Crescent Solar | Planned | RWE Solar Development, LLC | 7640 Rock Island 138kV | Colorado | SOUTH | 2023-06-15 | SOL | PV | 208.35 |  | No
21INR0470 | Pearl Crescent Storage | Planned | RWE Solar Development, LLC | 7640 Rock Island 138kV | Colorado | SOUTH | 2022-12-15 | OTH | BA | 50.26 |  | No
22INR0526 | Pine Forest BESS | Planned | Pine Forest Hybrid I, LLC | tap 345kV 1696 Monticello SES - 2514 Allen Switch | Hopkins | NORTH | 2023-01-27 | OTH | BA | 400 |  | No
20INR0203 | Pine Forest Solar | Planned | Telios Corporation | Monticello Switch – Allen Switch 345 kV Line | Hopkins | NORTH | 2022-07-31 | SOL | PV | 284.29 | 2020-07-29 | No
24INR0010 | Pinnington Solar | Planned | Hecate Energy Pinnington Solar 1 LLC | tap both 345kV 1430 Graham - 1436 Parker 345kV lines | Jack | NORTH | 2024-06-01 | SOL | PV | 666.1 |  | No
24INR0011 | Pinnington Storage | Planned | Hecate Energy Pinnington Solar & Storage 1 LLC | tap both 345kV 1430 Graham - 1436 Parker 345kV lines | Jack | NORTH | 2024-06-01 | OTH | BA | 508.7 |  | No
22INR0244 | Razorbill Solar | Planned | RWE Solar Development, LLC | tap 345kV 5915 STP to 44200 Hillje 345kV Ckt 64 | Matagorda | COASTAL | 2023-12-15 | SOL | PV | 240 |  | No
22INR0382 | Razorbill Storage | Planned | RWE Solar Development, LLC | tap 345kV 5915 STP to 44200 Hillje 345kV Ckt 64 | Matagorda | COASTAL | 2023-12-15 | OTH | BA | 120 |  | No
21INR0022 | Red Holly Solar | Planned | GreenGo Energy | tap 345kV 59900 Longdraw - 79641 Farmland | Dawson | WEST | 2023-08-01 | SOL | PV | 260 | 2020-10-19 | No
21INR0033 | Red Holly Storage | Planned | GreenGo Energy | tap 345kV 59900 Longdraw - 79641 Farmland | Dawson | WEST | 2023-08-01 | OTH | BA | 50 | 2020-10-19 | No
23INR0232 | Rocinante BESS | Planned | Brush Country Solar Project, LLC | tap 138kV 7595 Deer Creek - 7621 Nixon | Gonzales | SOUTH | 2023-12-31 | OTH | BA | 33 |  | No
23INR0231 | Rocinante Solar | Planned | Brush Country Solar Project, LLC | tap 138kV 7595 Deer Creek - 7621 Nixon | Gonzales | SOUTH | 2023-12-31 | SOL | PV | 95 |  | No
22INR0238 | Rockefeller Solar SLF | Planned | Photosol US Renewable Energy LLC | 76003 Big Hill 345kV | Schleicher | WEST | 2023-02-01 | SOL | PV | 207.48 |  | No
22INR0239 | Rockefeller Storage SLF | Planned | Photosol US Renewable Energy LLC | 76003 Big Hill 345kV | Schleicher | WEST | 2023-02-01 | OTH | BA | 207.48 |  | No
20INR0205 | Roseland Solar | Planned | Enel Green Power Roseland Solar, LLC | tap 345kV 3390 Jewett - 3399 Ratsnake | Falls | NORTH | 2022-07-14 | SOL | PV | 513 | 2020-12-10 | No
22INR0280 | Roseland Storage | Planned | Enel Green Power Roseland Solar, LLC | tap 345kV 3390 Jewett - 3399 Ratsnake | Falls | NORTH | 2022-09-01 | OTH | BA | 51.63 |  | No
21INR0265 | Sisters Solar | Planned | Oberon Solar LLC | 345kV line 11010 Wolf Sw-1018 Moss Sw | Ector | WEST | 2023-09-15 | SOL | PV | 303.09 |  | No
21INR0482 | Sisters Storage | Planned | 174 Power Global Properties | loop station on double circuit 345kV line 1018 Moss Sw/1029 Odessa Ehv Sw - 11010 Wolf Sw | Ector | WEST | 2022-10-15 | OTH | BA | 205 |  | No
24INR0039 | SP Jaguar BESS | Planned | SP-Jaguar Solar LLC | 3405 Tradinghouse 345kV | McLennan | NORTH | 2024-04-30 | OTH | BA | 300 |  | No
24INR0038 | SP Jaguar Solar | Planned | SP-Jaguar Solar LLC | 3405 Tradinghouse 345kV | McLennan | NORTH | 2024-04-30 | SOL | PV | 300 |  | No
22INR0410 | Stampede BESS | Planned | Stampede Solar Project, LLC | tap 345kV 1685 Farmersville - 1695 Monticello ckt 1 | Hopkins | NORTH | 2022-12-30 | OTH | BA | 100.77 |  | No
22INR0409 | Stampede Solar | Planned | Stampede Solar Project, LLC | tap 345kV 1685 Farmersville - 1695 Monticello ckt 1 | Hopkins | NORTH | 2022-12-30 | SOL | PV | 258.35 |  | No
23INR0193 | Stockdale Solar | Planned | Stockdale Solar, LLC | tap 345kV 5133 Elm Creek - 5323 Old Hickory Ckt 2 | Wilson | SOUTH | 2023-12-31 | SOL | PV | 152.5 |  | No
21INR0492 | Stockyard Grid Batt | Planned | Stockyard Grid, LLC | 2082 Hicks 138kV | Tarrant | NORTH | 2022-08-01 | OTH | BA | 101.7 |  | No
22INR0429 | Sun Valley BESS | Planned | Sun Valley Solar LLC | tap 345kV 68090 Sam Sw - 3405 Tradinghouse | Hill | NORTH | 2023-05-31 | OTH | BA | 187.5 |  | No
19INR0169 | Sun Valley Solar | Planned | Sun Valley Solar LLC | tap 345kV 68090 Sam Sw - 3405 Tradinghouse | Hill | NORTH | 2022-12-29 | SOL | PV | 252 | 2020-03-15 | No
23INR0331 | Talitha BESS | Planned | Talitha Energy Project, LLC | 5660 Orange Grove Switching Station 138 kV | Jim Wells | SOUTH | 2023-05-01 | OTH | BA | 61.39 |  | No
21INR0393 | Talitha Solar | Planned | Talitha Energy Project, LLC | 5660 Orange Grove 138kV | Jim Wells | SOUTH | 2023-05-01 | SOL | PV | 131.03 |  | No
23INR0148 | Thunderbird Solar SLF | Planned | Thunderbird Solar, LLC | tap 138kV 32 Robertson - 64 Milano | Milam | SOUTH | 2024-04-25 | SOL | PV | 204.08 |  | No
23INR0238 | Thunderbird Storage SLF | Planned | Thunderbird Solar, LLC | tap 138kV 32 Robertson - 64 Milano | Milam | SOUTH | 2024-04-25 | OTH | BA | 0 |  | No
23INR0244 | Tiger Solar | Planned | Vaca Del Sol LLC | 68004 PHANTOM HILL 345KV | Jones | WEST | 2023-12-01 | SOL | PV | 306.24 |  | No
23INR0245 | Tiger Storage | Planned | Vaca Del Sol LLC | 68004 PHANTOM HILL 345kV | Jones | WEST | 2023-12-01 | OTH | BA | 251.04 |  | No
23INR0156 | Umbra (Stockyard) BESS | Planned | Stockyard Solar Project, LLC | tap 345kV 1695 Monticello - 11699 Woodard | Franklin | NORTH | 2023-12-29 | OTH | BA | 73 |  | No
23INR0155 | Umbra (Stockyard) Solar | Planned | Stockyard Solar Project, LLC | tap 345kV 1695 Monticello - 11699 Woodard | Franklin | NORTH | 2023-12-29 | SOL | PV | 210 |  | No
21INR0237 | Voyager Solar | Planned | EDF Renewables Development, Inc. | 44200 Hillje 345kV | Wharton | SOUTH | 2022-12-30 | SOL | PV | 303.9 |  | No
20INR0238 | Voyager Storage | Planned | EDF Renewables Development, Inc. | 44200 Hillje 345kV | Wharton | SOUTH | 2022-12-01 | OTH | BA | 50.14 |  | No
21INR0019 | Zier Solar | Planned | Cypress Creek Renewables | 78255 Pinto Creek 138kV | Kinney | SOUTH | 2022-09-01 | SOL | PV | 162.99 | 2020-10-22 | No
21INR0027 | Zier Storage | Planned | Cypress Creek Renewables | 78255 Pinto Creek 138kV | Kinney | SOUTH | 2022-09-01 | OTH | BA | 20 |  | No

## Co-located with Wind
Battery Energy Storage Projects Co-Located with Wind Projects Based on the July 2021 GIS Report
NOTES:
Due to Protocol confidentiality provisions, only those projects for which a Full Interconnection Study has been requested are included.
For the purposes of this report Battery Energy Storage project is considered co-located with Wind Project if there are new or existing Wind projects at the same POI, with similar project name and same Interconnecting Entity (or same parent or holding company).
The projects are listed in alphabetical order.
INR | Project Name | Project Status | Interconnecting Entity | POI Location | County | CDR Reporting Zone | Projected COD | Fuel | Technology | Capacity (MW) | IA Signed |  | Approved for Energization | Approved for Synchronization
Financial Security
and Notice to
Proceed Provided
21INR0474 | Anchor BESS | Planned | Ranchland Wind Project,LLC | Tap 345kV 68008 Latimer - 68010 Romney | Eastland | NORTH | 2021-12-24 | OTH | BA | 71.45 | 2021-03-15 | Yes
21INR0387 | Anchor Wind | Planned | Ranchland Wind Project,LLC | Tap 345kV 68008 Latimer - 68010 Romney | Eastland | NORTH | 2021-12-24 | WIN | WT | 114.9 | 2020-11-30 | Yes
21INR0539 | Anchor Wind II | Planned | Ranchland Wind Project II, LLC | tap 345kV 68008 LATIMER - 68010 ROMNEY | Eastland | NORTH | 2021-12-24 | WIN | WT | 148.02 | 2020-11-30 | Yes
22INR0328 | Inertia BESS | Planned | Inertia Wind Project, LLC | tap 345kV 60515 Clear Crossing - 6104 Smoky Hill | Haskell | WEST | 2022-12-31 | OTH | BA | 121.45 | 2021-05-04 | No
22INR0326 | Inertia Wind | Planned | Inertia Wind Project, LLC | tap 345kV 60515 Clear Crossing - 6104 Smoky Hill | Haskell | WEST | 2022-12-31 | WIN | WT | 350 | 2021-05-04 | No
20INR0268 | Pyron BESS II | Planned | Pyron Wind Farm, LLC | 1048 Tonkawas 345kV | Nolan | WEST | 2022-05-16 | OTH | BA | 30.2 |  | No
07INR0045a | Airtricity Pyron Wind Farm | Operational |  | 1048 Tonkawas 345kV | Nolan | WEST |  | WIN | WT | 249
21INR0473 | Vortex BESS | Planned | AZURE SKY WIND STORAGE LLC | loop 345kV 60515 Clear Crossing - 1421 WillowCr 345kV | Throckmorton | WEST | 2021-12-31 | OTH | BA | 121.83 | 2021-04-23 | Yes
20INR0120 | Vortex Wind | Planned | AZURE SKY WIND PROJECT LLC | loop 345kV 60515 Clear Crossing - 1421 WillowCr 345kV | Throckmorton | WEST | 2022-04-13 | WIN | WT | 350.15 | 2020-12-01 | Yes

## Co-located with Thermal
Battery Energy Storage Projects Co-Located with Thermal Generation Projects Based on the July 2021 GIS Report
NOTES:
Due to Protocol confidentiality provisions, only those projects for which a Full Interconnection Study has been requested are included.
For the purposes of this report, the Battery Energy Storage project is considered co-located with thermal generation projects if there are new or existing project at the same POI, with similar project name and same Interconnecting Entity (or same parent or holding company).
The projects are listed in alphabetical order.
INR | Project Name | Project Status | Interconnecting Entity | POI Location | County | CDR Reporting Zone | Projected COD | Fuel | Technology | Capacity (MW) | IA Signed |  | Approved for Energization | Approved for Synchronization
Financial Security
and Notice to
Proceed Provided
22INR0448 | Brotman Energy Storage | Planned | Brotman Energy Storage, LLC | tap 138kV 44600 Rosharon - 44410 Karsten | Brazoria | COASTAL | 2022-06-01 | OTH | BA | 50.8 |  | No
23INR0095 | Brotman Power Station | Planned | Brotman Generating, LLC | tap 138kV 44600 Rosharon - 44410 Karsten | Brazoria | COASTAL | 2023-05-01 | GAS | GT | 348.46 |  | No
22INR0275 | Coleto Creek ESS Addition | Planned | COLETO CREEK POWER LLC | 8162 Coleto Creek 138kV | Goliad | SOUTH | 03/14/2022 | OTH | BA | 100.1 |  | No
| Coleto Creek | Operational |  | 8163 Coleto Creek 138kV | Goliad | SOUTH |  | COAL | ST | 650
21INR0459 | DeCordova BESS addition | Planned | Luminant Generation Company LLC | 1891 Decordova 138kV | Hood | NORTH | 2022-05-03 | OTH | BA | 263.08 | 2021-07-02 | Yes
| DeCordova CTG 1 | Operational |  | 1892 Decordova 138kV | Hood | NORTH |  | GAS | GT | 89.48
| DeCordova CTG 2 | Operational |  | 1893 Decordova 138kV | Hood | NORTH |  | GAS | GT | 89.48
| DeCordova CTG 3 | Operational |  | 1894 Decordova 138kV | Hood | NORTH |  | GAS | GT | 89.48
| DeCordova CTG 4 | Operational |  | 1895 Decordova 138kV | Hood | NORTH |  | GAS | GT | 89.48
22INR0447 | Mark One Energy Storage | Planned | Mark One Energy Storage, LLC | 42110 Angleton 138kV | Brazoria | COASTAL | 2022-10-01 | OTH | BA | 202.32 |  | No
22INR0369 | Mark One Power Station | Planned | Mark One Generating, LLC | 42110 Angleton 138kV | Brazoria | COASTAL | 2022-06-25 | GAS | GT | 312 | 2021-07-21 | Yes
22INR0371 | PES 2 Power Station | Planned | HO CLARKE GENERATING LLC | 47150 H.O. Clarke 138kV | Harris | HOUSTON | 2021-09-01 | GAS | GT | 102 | 2019-12-17 | Yes
22INR0450 | PES Energy Storage | Planned | HO Clarke Energy Storage, LLC | 47150 H.O. Clarke 138kV | Harris | HOUSTON | 2022-06-01 | OTH | BA | 100.8 |  | No
| PES1 | Operational |  | 47150 H O Clarke 138kV | Harris | HOUSTON |  | GAS | GT | 363
22INR0449 | Sibyl Energy Storage | Planned | Sibyl Energy Storage, LLC | Tap 138kV 43261 Southwyck - 44552 Telview | Fort Bend | HOUSTON | 2023-08-01 | OTH | BA | 202.32 |  | No
22INR0361 | Sibyl Power Station | Planned | Sibyl Generating, LLC | Tap 138kV 43261 Southwyck - 44552 Telview | Fort Bend | HOUSTON | 2023-08-01 | GAS | GT | 298.68 |  | No
21INR0529 | Topaz Energy Storage | Planned | Topaz Energy Storage, LLC | 38745 TN Attwater 138kV | Galveston | HOUSTON | 2022-06-01 | OTH | BA | 202.32 |  | No
20INR0231 | Topaz Power Plant | Planned | Topaz Generating, LLC | 38745 TN Attwater 138kV | Galveston | HOUSTON | 2021-07-15 | GAS | GT | 510 | 2020-04-28 | Yes | 2021-06-22 | 2021-06-24
22INR0276 | Trinidad ESS Addition | Planned | LUMINANT GENERATION COMPANY LLC | 3127 Trinidad 138kV | Henderson | NORTH | 2024-04-22 | OTH | BA | 110 |  | No
| Trinidad STG 6 | Operational |  | 3128 Trinidad 138kV | Henderson | NORTH |  | GAS | ST | 239
20INR0112 | Walstrom | Planned | Castleman Power | 46220 Peters 138kV | Austin | SOUTH | 2022-05-30 | GAS | GT | 200 |  | No
22INR0540 | Walstrom BESS | Planned | Castleman Power | 46220 Peters 138kV | Austin | SOUTH | 2022-12-01 | OTH | BA | 200 |  | No

## Stand-Alone
Stand-Alone Battery Storage Projects Based on the July 2021 GIS Report
NOTES:
Due to Protocol confidentiality provisions, only those projects for which a Full Interconnection Study has been requested are included.
For the purposes of this report, the Battery Energy Storage project is considered stand-alone if there is no other project located at the same POI, with similar project name and same Interconnecting Entity (or same parent or holding company).
The projects are listed in alphabetical order.
INR | Project Name | Project Status | Interconnecting Entity | POI Location | County | CDR Reporting Zone | Projected COD | Fuel | Technology | Capacity (MW) | IA Signed |  | Approved for Energization | Approved for Synchronization
Financial Security
and Notice to
Proceed Provided
22INR0516 | Amber Storage | Planned | Belltown Power Texas | 730 Wolf Ridge 138kV | Cooke | NORTH | 2022-12-31 | OTH | BA | 50 |  | No
21INR0508 | Angels Creek | Planned | Angels Creek LLC | 5888 Bruni 69kV | Webb | SOUTH | 2022-06-01 | OTH | BA | 31.68 |  | No
23INR0299 | Anole BESS | Planned | Anole Energy Storage, LLC | 2432 Tri-Corner 345kV | Dallas | NORTH | 2023-02-28 | OTH | BA | 227.84 |  | No
21INR0507 | Arana Creek Batt | Planned | Arana Creek LLC | 5648 Loyola 138kV | Kleberg | COASTAL | 2022-05-31 | OTH | BA | 153.5 |  | No
21INR0365 | Bat Cave Energy Storage | Planned | Bat Cave Energy Storage | 76390 Fort Mason 138kV | Mason | SOUTH | 2021-07-30 | OTH | BA | 100.49 | 2020-02-21 | Yes | 2021-04-30 | 2021-06-17
21INR0495 | Belding 2 Batt | Planned | Triple Butte II LLC | 38490 TNBelding 69kV | Pecos | WEST | 2022-06-01 | OTH | BA | 51.48 |  | No
22INR0443 | Bowstring BESS | Planned | Longbow Energy Storage, LLC | 8961 White Point 138kV | San Patricio | COASTAL | 2022-12-31 | OTH | BA | 158.69 |  | No
22INR0332 | Brantley Branch Batt | Planned | Brantley Branch LLC | 3116 Mt. Enterprise 345kV | Rusk | NORTH | 2022-06-30 | OTH | BA | 300 |  | No
23INR0074 | BRP Ampato BESS | Planned | BRP Ampato BESS LLC | 10002 NS Crane Switch 138kV | Crane | WEST | 2023-03-31 | OTH | BA | 121.56 |  | No
22INR0349 | BRP Antlia BESS | Planned | BRP Antlia BESS LLC | tap 138kV 8998 Maxwell – 8261 Whiting | Val Verde | WEST | 2022-10-30 | OTH | BA | 70.95 | 2021-06-05 | Yes
23INR0272 | BRP Aras BESS | Planned | BRP Aras BESS LLC | 76595 North McCamey 138kV | Upton | WEST | 2023-10-01 | OTH | BA | 303.59 |  | No
23INR0287 | BRP Avila BESS | Planned | BRP Avila BESS LLC | 38340 TN Airport 138kV | Pecos | WEST | 2023-06-15 | OTH | BA | 101.24 |  | No
23INR0131 | BRP Batura BESS | Planned | BRP Batura BESS LLC | 5260 Leon Creek 138kV | Bexar | SOUTH | 2023-06-01 | OTH | BA | 251.65 |  | No
23INR0132 | BRP Bonete BESS | Planned | BRP Bonete BESS LLC | 8951 Stewart Road 138kV | Hidalgo | SOUTH | 2023-05-01 | OTH | BA | 201.13 |  | No
22INR0388 | BRP Cachi BESS | Planned | BRP Cachi BESS LLC | 7680 Clear Springs 138kV | Guadalupe | SOUTH | 2022-12-30 | OTH | BA | 202.46 | 2021-06-11 | No
22INR0353 | BRP Carina BESS | Planned | BRP Carina BESS LLC | 8479 Clarkwood 138kV | Nueces | COASTAL | 2022-10-30 | OTH | BA | 151.85 |  | No
22INR0347 | BRP Crater BESS | Planned | BRP Crater BESS LLC | tap 345kV 1025 Falcon Seaboard - 1021 Midland East | Howard | WEST | 2022-11-30 | OTH | BA | 303.53 |  | No
22INR0424 | BRP Denali BESS | Planned | BRP Denali BESS LLC | Tap 138kV 5395 Sommers - 5030 Braunig East | Bexar | SOUTH | 2022-11-30 | OTH | BA | 258.41 |  | No
22INR0325 | BRP Dickens BESS | Planned | BRP Dickens BESS LLC | 59904 Cottonwood 345kV | Dickens | PANHANDLE | 2022-05-30 | OTH | BA | 202.33 | 2020-11-03 | Yes
23INR0137 | BRP Diran BESS | Planned | BRP Diran BESS LLC | 43190 South Lane City 138kV | Wharton | SOUTH | 2023-05-01 | OTH | BA | 100.63 |  | No
23INR0135 | BRP Elbus BESS | Planned | BRP Elbus BESS LLC | 9075 Lytton 138kV | Caldwell | SOUTH | 2023-05-01 | OTH | BA | 201.11 |  | No
23INR0073 | BRP Galan BESS | Planned | BRP Galan BESS LLC | 5007 Alamo One 138kV | Bexar | SOUTH | 2023-03-31 | OTH | BA | 75.97 |  | No
22INR0372 | BRP Hydra BESS | Planned | BRP Hydra BESS LLC | 76002 Bakersfield 345kV | Pecos | WEST | 2022-10-30 | OTH | BA | 202.46 | 2021-05-08 | Yes
22INR0427 | BRP Kabru BESS | Planned | BRP Kabru BESS LLC | 1159 Andrew North - 11284 Blackbird 138kV | Andrews | WEST | 2023-03-30 | OTH | BA | 202.45 |  | No
23INR0134 | BRP Kailas BESS | Planned | BRP Kailas BESS LLC | 6216 Bluff Creek 138kV | Taylor | WEST | 2023-05-01 | OTH | BA | 201.29 |  | No
23INR0104 | BRP Kamet BESS | Planned | BRP Kamet BESS LLC | Andrews North – McKenzie Draw Switch 138 kV | Andrews | WEST | 2023-04-30 | OTH | BA | 202.46 |  | No
22INR0366 | BRP Libra BESS | Planned | BRP Libra BESS LLC | 5133 Elm Creek 345kV | Guadalupe | SOUTH | 2022-11-30 | OTH | BA | 202.38 |  | No
22INR0367 | BRP Lyra BESS | Planned | BRP Lyra BESS LLC | 60718 Pecos Valley 138kV | Pecos | WEST | 2022-11-30 | OTH | BA | 202.79 |  | No
22INR0365 | BRP Mensa BESS | Planned | BRP Mensa BESS LLC | 60718 Pecos Valley 138kV | Pecos | WEST | 2022-12-30 | OTH | BA | 202.79 |  | No
22INR0383 | BRP Musca BESS | Planned | BRP Musca BESS LLC | 60361 Santa Rita 138kV | Reagan | WEST | 2022-11-30 | OTH | BA | 101.28 |  | No
23INR0275 | BRP Nile BESS | Planned | BRP Nile BESS LLC | 80220 Cenizo 345kV | Webb | SOUTH | 2023-08-01 | OTH | BA | 202.34 |  | No
22INR0386 | BRP Octans BESS | Planned | BRP OCTANS BESS LLC | 6671 Tombstone 138kV | Pecos | WEST | 2022-11-30 | OTH | BA | 126.63 |  | No
22INR0322 | BRP Paleo BESS | Planned | BRP Paleo BESS LLC | 23920 Blackwater Draw 345kV | Hale | PANHANDLE | 2022-09-30 | OTH | BA | 202.36 | 2021-02-05 | Yes
23INR0274 | BRP Parana BESS | Planned | BRP Parana BESS | 7178 Marion 138kV | Guadalupe | SOUTH | 2023-10-01 | OTH | BA | 303.67 |  | No
23INR0139 | BRP Passu BESS | Planned | BRP Passu BESS LLC | 6111 Riley 345kV | Wilbarger | WEST | 2023-10-01 | OTH | BA | 301.82 |  | No
22INR0384 | BRP Pavo BESS | Planned | BRP Pavo BESS LLC | 38430 TN White Baker 138kV | Pecos | WEST | 2022-02-01 | OTH | BA | 176.85 | 2021-07-15 | Yes
22INR0390 | BRP Perseus BESS | Planned | BRP Perseus BESS LLC | 8452 Lon Hill 138kV | Nueces | COASTAL | 2022-12-30 | OTH | BA | 202.5 |  | No
22INR0385 | BRP Pictor BESS | Planned | BRP Pictor BESS LLC | 60400 Lynx 138kV | Crane | WEST | 2022-12-30 | OTH | BA | 202.7 |  | No
23INR0115 | BRP Pobeda BESS | Planned | BRP Pobeda BESS LLC | 44645 Singleton 345kV | Grimes | NORTH | 2023-06-01 | OTH | BA | 301.44 |  | No
22INR0408 | BRP Pular BESS | Planned | BRP Pular BESS LLC | 8963 Hidalgo Energy Center 138kV | Hidalgo | SOUTH | 2022-10-30 | OTH | BA | 233.1 |  | No
23INR0094 | BRP Pyxis BESS | Planned | BRP Pyxis BESS LLC | tap 138kV 1009 Yucca - 11197 Sand Tank Pod | Ward | WEST | 2023-03-01 | OTH | BA | 202.45 |  | No
22INR0423 | BRP Quela BESS | Planned | BRP Quela BESS LLC | Tap 138kV 5110 J.T. Deely - 5294 Martinez | Bexar | SOUTH | 2022-12-30 | OTH | BA | 303.74 |  | No
23INR0075 | BRP Rhine BESS | Planned | BRP Rhine BESS LLC | Tap 345kV 11188 QUARRYFLD - 11010 WOLF | Ward | WEST | 2023-03-31 | OTH | BA | 202.47 |  | No
23INR0140 | BRP Seine BESS | Planned | BRP Seine BESS LLC | 60500 Edith Clarke 345kV | Foard | WEST | 2023-10-01 | OTH | BA | 301.69 |  | No
23INR0143 | BRP Sepik BESS | Planned | BRP Sepik BESS LLC | tap 138kV 11342 Loraine South – 1032 Morgan Creek | Mitchell | WEST | 2023-09-01 | OTH | BA | 201.87 |  | No
23INR0276 | BRP Tigris BESS | Planned | BRP Tigris BESS LLC | 2374 Anna Switch 138kV | Collin | NORTH | 2023-08-01 | OTH | BA | 202.43 |  | No
23INR0072 | BRP Tortolas BESS | Planned | BRP Tortolas BESS LLC | 39030 Alvin 138kV | Brazoria | COASTAL | 2022-02-01 | OTH | BA | 50.67 | 2021-07-15 | Yes
23INR0279 | BRP Trivor BESS | Planned | BRP Trivor BESS LLC | 1272 Fullerton 138kV | Andrews | WEST | 2023-08-01 | OTH | BA | 202.34 |  | No
23INR0278 | BRP Tucana BESS | Planned | BRP Tucana BESS LLC | 23876 Clearfork 345kV | Andrews | WEST | 2023-08-01 | OTH | BA | 202.32 |  | No
23INR0071 | BRP Volans BESS | Planned | BRP Volans BESS LLC | 11189 Quarry Field SW - 1074 Wink 138kV | Winkler | WEST | 2023-03-31 | OTH | BA | 202.47 |  | No
23INR0290 | BRP Zeya BESS | Planned | BRP Zeya BESS LLC | 38740 Heights 138kV | Galveston | HOUSTON | 2023-06-15 | OTH | BA | 101.24 |  | No
21INR0281 | Byrd Ranch Storage | Planned | Byrd Ranch Storage LLC | 39700 TNSweeny 138kV | Brazoria | COASTAL | 2022-06-01 | OTH | BA | 50.6 | 2020-12-14 | Yes
21INR0260 | Chariot Storage | Planned | Chariot Storage LLC | tap 69kV 99 Ben Hur - 107 Prairie Hill | Limestone | NORTH | 2023-04-15 | OTH | BA | 47.12 |  | No
20INR0089 | Chisholm Grid | Planned | Chisholm Grid, LLC | 2082 Hicks 138kV | Tarrant | NORTH | 2021-08-06 | OTH | BA | 101.7 | 2019-08-16 | Yes | 2021-03-31 | 2021-06-15
23INR0069 | Corbin Grid BESS | Planned | Corbin Grid, LLC | 44510 Obrien 138kV | Fort Bend | HOUSTON | 2023-05-31 | OTH | BA | 202.76 |  | No
21INR0510 | Crossett Power Batt | Planned | Crossett Power Management LLC | 76026 Soda Lake 138kV | Crane | WEST | 2021-09-16 | OTH | BA | 203 | 2020-08-05 | Yes | 2021-07-20
23INR0195 | Desert Willow BESS | Planned | Desert Willow Energy Storage, LLC | tap 345kV 1907 Venus - 1921 Liggett | Ellis | NORTH | 2023-02-28 | OTH | BA | 151.92 |  | No
23INR0154 | Ebony Energy Storage | Planned | Ebony Energy Storage, LLC | 5180 Green Mountain 138kV | Comal | SOUTH | 2023-05-01 | OTH | BA | 204.97 |  | No
21INR0280 | Edgewater Storage | Planned | Edgewater Battery Storage LLC | 210 Reagor Springs 69kV | Ellis | NORTH | 2023-04-15 | OTH | BA | 47.12 |  | No
21INR0479 | Endurance Park Storage | Planned | KCE TX 13, LLC | 11306 Dermott 138kV | Scurry | WEST | 2022-06-30 | OTH | BA | 52.25 | 2021-02-13 | No
22INR0401 | Eval Storage | Planned | Hecate Grid East Valley Storage LLC | 80229 Cavazos 138kV | Cameron | COASTAL | 2022-05-31 | OTH | BA | 255 |  | No
22INR0422 | Ferdinand Grid BESS | Planned | Ferdinand Grid, LLC | 5260 Leon Creek 138kV | Bexar | SOUTH | 2023-05-31 | OTH | BA | 202.65 |  | No
22INR0515 | Flagtail BESS | Planned | Flagtail LLC | Tap 138kV 5 Sandy Switch - 7 Sandy | Grimes | NORTH | 2023-03-01 | OTH | BA | 203.8 |  | No
21INR0496 | Flower Valley II Batt | Planned | Flower Valley II, LLC | 38069 TN Flat Top 138kV | Reeves | WEST | 2021-10-21 | OTH | BA | 100.98 | 2021-01-12 | Yes
23INR0239 | Giga Texas Energy Storage | Planned | Giga Texas Energy, LLC. | 7047 Hornsby 345kV | Travis | SOUTH | 2023-05-26 | OTH | BA | 250 |  | No
21INR0262 | Grandfalls Storage | Planned | King Mountain Storage LLC | tap 345kV 11028 Odessa - 76000 North McCamey | Upton | WEST | 2022-12-01 | OTH | BA | 205.9 |  | No
20INR0280 | High Lonesome BESS | Planned | High Lonesome Storage, LLC | tap 345kV 76002 Bakersfield - 7053 Noelke | Crockett | WEST | 2022-06-01 | OTH | BA | 51.06 | 2020-08-26 | Yes
22INR0485 | House Mountain 2 Batt | Planned | House Mountain LLC | 6674 Bronco 69kV | Brewster | WEST | 2023-02-01 | OTH | BA | 52.42 | 2021-07-07 | Yes
22INR0327 | Hummingbird Storage | Planned | KCE TX 10, LLC | 1730 Krum 345kV | Denton | NORTH | 2022-12-26 | OTH | BA | 103.8 |  | No
21INR0522 | Ignacio Grid | Planned | Ignacio Grid, LLC | 8824 Railroad 138kV | Hidalgo | SOUTH | 2022-03-03 | OTH | BA | 101.52 | 2020-10-27 | Yes
21INR0455 | Independence Trail Storage | Planned | KCE TX 16, LLC | 60501 Tesla 345kV | Childress | PANHANDLE | 2023-05-01 | OTH | BA | 100 |  | No
21INR0480 | Juanita Hill Storage | Planned | KCE TX 20, LLC | 44200 Hillje 345kV | Wharton | SOUTH | 2022-07-30 | OTH | BA | 103.8 |  | No
23INR0317 | Kingfisher Energy Storage | Planned | Nopalosa Energy Storage, LLC | 80219 Lobo 345kV | Webb | SOUTH | 2023-03-31 | OTH | BA | 204.97 |  | No
23INR0283 | Kota Battery | Planned | National Grid Renewables LLC | 23900 Alibates 345kV | Carson | PANHANDLE | 2023-06-01 | OTH | BA | 202 |  | No
23INR0284 | Las Moras Battery | Planned | National Grid Renewables, LLC | 8252 Brackett 138kV | Kinney | SOUTH | 2023-06-01 | OTH | BA | 101 |  | No
22INR0338 | Limousin Oak Storage | Planned | KCE TX 15, LLC | 44645 Singleton 345kV | Grimes | NORTH | 2023-05-01 | OTH | BA | 104.62 |  | No
21INR0502 | LUND STORAGE | Planned | RRE POWER STORAGE 1 LLC | tap 138kV 7336 Gillie - 3650 Elgin | Travis | SOUTH | 2023-02-01 | OTH | BA | 60 |  | No
21INR0244 | Madero Grid | Planned | Madero Grid, LLC | 8824 Railroad 138kV | Hidalgo | SOUTH | 2022-01-13 | OTH | BA | 101.52 | 2019-12-06 | Yes
23INR0152 | Madrone Energy Storage | Planned | Madrone Energy Storage, LLC | 5051 Bulverde 138kV | Comal | SOUTH | 2023-05-01 | OTH | BA | 102.49 |  | No
20INR0244 | Montezuma Storage | Planned | Montezuma Storage LLC | 7258 Glidden 138kV | Colorado | SOUTH | 2023-04-15 | OTH | BA | 47.12 |  | No
21INR0487 | Nickel Prairie Storage | Planned | KCE TX 17, LLC | 44600 Rosharon 138kV | Brazoria | COASTAL | 2023-05-01 | OTH | BA | 208.96 |  | No
20INR0276 | North Fork Energy Storage | Planned | North Fork Energy Storage | 7522 Andice 138kV | Williamson | SOUTH | 2021-08-03 | OTH | BA | 100.49 | 2020-04-28 | Yes | 2021-04-13 | 2021-04-16
22INR0368 | Padua Grid BESS | Planned | Padua Grid, LLC | 5395 O.W Sommers 138kV | Bexar | SOUTH | 2022-12-31 | OTH | BA | 202.6 |  | No
23INR0149 | Pequin BESS Alt#1 | Planned | Pequin Energy Storage, LLC | 43380 West Columbia 138kV | Brazoria | COASTAL | 2023-02-28 | OTH | BA | 111.09 |  | No
23INR0194 | Pequin BESS Alt#2 | Planned | Pequin Energy Storage, LLC | 39500 TN West Columbia 138kV | Brazoria | COASTAL | 2023-02-28 | OTH | BA | 111.09 |  | No
20INR0281 | Queen BESS | Planned | Roadrunner Storage, LLC | 842 GPL King Mountain 345kV | Upton | WEST | 2022-05-31 | OTH | BA | 51.06 | 2020-08-06 | Yes
21INR0505 | Ramsey Storage | Planned | Hecate Energy Ramsey Storage LLC | 44200 Hillje 345kV | Wharton | SOUTH | 2022-05-01 | OTH | BA | 500 |  | No
21INR0460 | Republic Road Storage | Planned | KCE TX 11, LLC | 35 Hearne 138kV | Robertson | NORTH | 2021-10-29 | OTH | BA | 51.75 | 2020-10-29 | Yes
23INR0163 | Ringtail Ridge Storage | Planned | KCE TX 26, LLC | 7150 Kendall 138kV | Kendall | SOUTH | 2023-05-01 | OTH | BA | 103.8 |  | No
20INR0290 | River Valley Storage 1 | Planned | KCE TX 19, LLC | 3650 Elgin SS 138kV | Williamson | SOUTH | 2022-05-30 | OTH | BA | 51.9 |  | No
20INR0293 | River Valley Storage 2 | Planned | KCE TX 21, LLC | 3650 Elgin SS 138kV | Williamson | SOUTH | 2022-05-30 | OTH | BA | 51.9 |  | No
19INR0176 | Roughneck Storage | Planned | KCE TX 23, LLC | 43380 W Columbia 138kV | Brazoria | COASTAL | 2021-12-01 | OTH | BA | 50 | 2020-05-13 | Yes | 2021-06-15
20INR0246 | Ryan Energy Storage | Planned | Ryan Storage LLC | 37580 TNPancake 69kV | Coryell | NORTH | 2023-01-09 | OTH | BA | 50 | 2021-02-18 | No
22INR0398 | Sabal Storage | Planned | Cameron Wind I, LLC | 5761 Paredes 138kV | Cameron | COASTAL | 2022-10-31 | OTH | BA | 24 |  | No
24INR0081 | SANJAC BESS | Planned | Castleman Power | 40270 Riverside 138kV | Harris | HOUSTON | 2023-01-01 | OTH | BA | 200 |  | No
22INR0490 | Saracen I Energy Storage | Planned | Saracen I Energy Storage LLC | 47150 HO Clarke 138kV | Harris | HOUSTON | 2022-12-01 | OTH | BA | 101.63 |  | No
22INR0491 | Saracen II Energy Storage | Planned | Saracen II Energy Storage LLC | 47150 HO Clarke 138kV | Harris | HOUSTON | 2022-12-01 | OTH | BA | 101.63 |  | No
20INR0291 | Silicon Hill Storage | Planned | KCE TX 12, LLC | 7336 L_GILLCR8_1Y 138kV | Travis | SOUTH | 2022-02-01 | OTH | BA | 104.62 | 2020-03-27 | Yes
23INR0217 | Snap Jaw BESS | Planned | Moccasin Pointe Grid, LLC | tap 138kV 40941 La Porte - 40200 Bimont (Air Liquide) | Harris | HOUSTON | 2023-06-01 | OTH | BA | 201.28 |  | No
21INR0357 | SP TX-12B BESS | Planned | CED Upton County BESS, LLC | 132943 SPTX12B 138kV | Upton | WEST | 2021-11-22 | OTH | BA | 25.12 | 2020-05-01 | Yes
22INR0445 | SPC Bloom BESS | Planned | Victoria Battery LLC | 8911 Black Bayou 138kV | Victoria | SOUTH | 2023-06-01 | OTH | BA | 100 |  | No
22INR0524 | St. Gall I Energy Storage | Planned | St. Gall Energy Storage LLC | 38355 TNLeon Creek 138kV | Pecos | WEST | 2022-06-01 | OTH | BA | 127.04 |  | No
22INR0525 | St. Gall II Energy Storage | Planned | St. Gall Energy Storage LLC | 38355 TNLeon Creek 138kV | Pecos | WEST | 2023-06-01 | OTH | BA | 127.04 |  | No
23INR0164 | Steppe Reserve Storage | Planned | KCE TX 25, LLC | 8283 Asherton 138 kV | Dimmit | SOUTH | 2023-06-01 | OTH | BA | 51.8 |  | No
23INR0218 | Stump Tail BESS | Planned | Moccasin Pointe Grid, LLC | Tap 345kV 42000 PH Robinson – 40240 Center | Harris | HOUSTON | 2023-06-01 | OTH | BA | 301.69 |  | No
21INR0497 | Swoose II | Planned | Swoose II, LLC | 38001 TNPyote 138kV | Ward | WEST | 2021-11-17 | OTH | BA | 100.98 | 2021-01-12 | Yes
22INR0503 | Tidwell Prairie II Batt | Planned | TIDWELL PRAIRIE LLC | Tap 345kV 3400 Twin Oak - 39950 TNP One | Robertson | NORTH | 2023-06-01 | OTH | BA | 101.63 |  | No
22INR0504 | Tidwell Prairie III Batt | Planned | Tidwell Prairie LLC | Tap 345kV 3400 Twin Oak - 39950 TNP One | Robertson | NORTH | 2023-06-01 | OTH | BA | 101.63 |  | No
21INR0517 | Tidwell Prairie Storage 1 | Planned | Tidwell Prairie LLC | 39950 TNP ONE PLANT 345kV - 3400 TWIN OAK | Robertson | NORTH | 2022-09-01 | OTH | BA | 304.78 |  | No
22INR0495 | TIMBERWOLF BESS 2 | Planned | CED Development Inc. | 76635 King Mt 138kV | Upton | WEST | 2022-06-01 | OTH | BA | 150 |  | No
22INR0509 | Turquoise Storage | Planned | Belltown Power Texas | 6950 Wallace Switch 138kV | Hunt | NORTH | 2022-12-31 | OTH | BA | 190 |  | No
22INR0387 | Val Vista Grid BESS | Planned | Val Vista Grid, LLC | 8380 North Edinburg 138kV | Hidalgo | SOUTH | 2023-03-01 | OTH | BA | 202.85 |  | No
22INR0488 | Venture Hill Storage | Planned | KCE TX 24, LLC | 7336 Gilleland Creek 138kV | Travis | SOUTH | 2022-12-01 | OTH | BA | 51.8 |  | No
20INR0245 | Volunteer Storage | Planned | Blackjack Storage LLC | 7216 Lockhart 138kV | Caldwell | SOUTH | 2023-04-15 | OTH | BA | 47.12 |  | No
23INR0106 | Vorsavio Grid BESS | Planned | Vorsavio Grid, LLC | 80013 Laredo VFT 138kV | Webb | SOUTH | 2023-07-31 | OTH | BA | 100.67 |  | No

## Historic Trends
Planned Stand-Alone and Co-Located Battery Projects in Historic Generation Interconnection Status Reports

## Battery RFI Charts
Summary of Battery Request for Information as of July 31, 2021
| Number of batteries (incl. distributed) | Number of RFI Templates submitted | EIA-860 Energy (2019), additional
Operational | 31 | 11 | 7
Planned, with SGIA | 47 | 28 | -